# Fall Risk Prediction Model

## System Integration Delivery Document

### 1. Purpose of the Model

This model is designed to estimate fall risk probability of a person based on short-term temporal visual information captured by a fixed camera.
The output is a continuous probability (0–1) indicating the likelihood that the person is in a fall or high-risk state, rather than a hard binary decision.

The model is intended for real-time deployment in medical or care facilities, where it works in conjunction with a human detection / pose estimation system.

### 2. System Role Definition

This project adopts a modular system architecture:

- System Team

  - Camera setup

  - YOLO-based person detection / pose estimation

  - Person tracking and UI visualization

- Fall Risk Model (this work)

  - Temporal fall risk inference based on image sequences

  - Outputs per-person fall probability

This separation ensures flexibility, maintainability, and scalability.

### 3. Model Input Specification

The model expects the following input format:

- Input shape:
(1, 30, 64, 64, 3)

- Description:

  - 30 consecutive RGB frames of a single person

  - Each frame is a cropped person region (ROI)

  - Frames are resized to 64 × 64

  - Pixel values normalized to [0, 1]

- Temporal logic:

  - Frames are collected using a sliding window

  - One prediction corresponds to one temporal window

### 4. Model Output Specification

- Output:
Single scalar value ∈ [0, 1]

- Meaning:
Fall risk probability

- Decision usage:

  - Threshold (e.g., 0.5) can be adjusted by the system side

  - Probability can be visualized directly or used for alerts

### 5. Provided Files

The following files are delivered for system integration:

- fall_cnn_gru.keras
(Primary model for deployment)

- fall_cnn_lstm.keras
(Alternative temporal model for comparison)

- This integration document

Optional inference code examples can be provided upon request.

### 6. Deployment Notes

- The model performs inference per person, not per frame

- Multiple persons can be processed independently

- Designed for continuous real-time evaluation

# 跌倒風險預測模型

## 系統整合交付說明文件

## 1. 模型目的（Purpose of the Model）

本模型旨在根據固定式攝影機所擷取之短時間連續影像資訊，對單一受測者進行跌倒風險機率估計。

模型輸出為一個 介於 0 至 1 之間的連續機率值，用以表示該受測者目前處於跌倒或高風險狀態的可能性，而非僅給出二元（跌倒／未跌倒）的判斷結果。

本模型設計目標為即時部署於醫療院所或長照機構，並與人形偵測或姿態估測系統共同運作，以提升跌倒風險監測之即時性與實用性。

## 2. 系統角色定義（System Role Definition）

本研究採用模組化系統架構（Modular Architecture），各模組職責如下：

### 系統端（System Team）

- 攝影機架設與影像擷取

- 基於 YOLO 之人形偵測與姿態估測

- 人物追蹤與使用者介面（UI）顯示

### 跌倒風險模型（本研究）

- 依據影像序列進行時序式跌倒風險推論

- 針對每一位受測者輸出其跌倒風險機率

此模組化設計可確保系統具備良好的彈性、可維護性與擴充性，並利於未來系統升級與跨模組整合。

## 3. 模型輸入規格（Model Input Specification）

模型所需之輸入資料格式如下：

### 輸入維度（Input Shape）

(1, 30, 64, 64, 3)

### 說明（Description）

- 連續 30 張單一受測者的 RGB 影像

- 每一張影像皆為經由人形偵測後裁切之人物區域（ROI）

- 影像尺寸統一縮放為 64 × 64 像素

- 像素值經正規化處理至 [0, 1] 範圍

### 時序邏輯（Temporal Logic）

- 影像序列透過**滑動時間窗（Sliding Window）**方式擷取

- 每一組時間窗對應一次跌倒風險預測結果

## 4. 模型輸出規格（Model Output Specification）

### 輸出形式（Output）

- 單一數值，範圍為 [0, 1]

### 意義（Meaning）

- 代表受測者當下之跌倒風險機率

### 使用方式（Decision Usage）

- 判斷門檻值（如 0.5）可由系統端依實際需求自行調整

- 機率值可直接視覺化顯示，或作為觸發警示機制之依據

## 5. 交付檔案（Provided Files）

本次系統整合所提供之檔案如下：

- fall_cnn_gru.keras
（建議作為實際部署之主要模型）

- fall_cnn_lstm.keras
（用於時序模型效能比較之替代模型）

- 本系統整合交付說明文件

如有需求，可另行提供模型推論範例程式碼。

## 6. 部署說明（Deployment Notes）

- 模型推論單位為「單一人物」，而非單張影像

- 系統可同時處理多位受測者，彼此互不影響

- 模型設計支援連續即時推論之應用情境